## Slide 1
Anatomický obraz
Positron Emission Tomography
MR Scan (or CT)

## Slide 2
MR, CT
Anatomie
funkce
PET/CT

## Slide 3
Funkční obrazení
Glucose + Isotope (e+)
Injection(~2-5mCi)
Scan (15-30 minutes)

## Slide 4
Co je PET?
Isotope production CYCLOTRONS
Tracer production CHEMISTRY SYSTEMS
Imaging SCANNER

## Slide 5
Fyzikální princip
n
b+
b-
~1-3mm
511KeV
511KeV
Pozitronová dráha 1-3 mm před
annihilací (závisí na energii)
Zachování energie a momentu
  - 511 keV fotony a
Simultánní detekce dvou 511KeV fotonů 
  - výsledek je přímka a současný přichod

## Slide 11
Projection Data Collection
R
PMT
PMT
COINCIDENCE
PROCESSING
DETECTOR
RING
Processing
Electronics
Processing
Electronics
Coincidence
Processor
Data Sorting,
Histogram
Image Recon
Computer
Images
Basic Principles

## Slide 13
PET Image
My Objective  New and better detector design using GEANT4
 Better information to Physicians
 Better patient care and treatment

## Slide 14
Intra-pulmonary lesion
PET-CT fusion localizes
PET-CT

## Slide 15
První srdce má mykardální infarkt. Šipky ukazují poškozené oblasti (‘smrt tkáně).
Druhé srdce je normální
Příklad : Myokardiální nekrózy

## Slide 16
První obraz ukazuje maligní nádor, který nebyl diagnostikován běžnými zobrazovacími technikami. (CT, MRI, mammogram)
Druhý obraz již bohužel meta postižení.
Příklad: rakovina prsu

## Slide 17
Fyzikální princip
n
b+
b-
~1-3mm
511KeV
511KeV
Simultánní detekce dvou 511KeV fotonů 
18F FDG ( 18F labeled fluorodeoxyglukoza )
PET/CT

## Slide 19
Žaludek karcinom
Notes: 19

## Slide 20
Pankreas - karcinom
Notes: 20

## Slide 21
Activity
A = N/t [s-1]
A - activity
N - mean number of radioactive decays
t - time interval
1 s-1 = 1 Bq (Becquerel)
1 Ci (Curie) = 3.7 x 1010 Bq

## Slide 22
Dose
D = /m [J.kg-1]
D - dose
 - mean energy deposited by ionizing radiation to given material
m - mass of material
1 J.kg-1 = 1 Gy (Gray)
1 rad = 0.01 Gy

## Slide 23
Basic principles of radiosurgery
The first prototype of the Leksell Gamma Knife was installed in 1968 at Sophiahemmet in Stockholm, Sweden.

## Slide 24
Diagram for the decay of 60Co nucleus

## Slide 25
Photon depth dose curves

## Slide 26
Basic principle of radiosurgery

## Slide 27
Dose profiles for the Leksell gamma knife

## Slide 28
Physical and technical principles
Radiation source: gamma rays from 60Co
No. of sources: 201
Collimators: 4, 8, 14, 18, mm
Stereotactic target localization: preferably MRI, CT not necessary, angiography
Leksell gamma knife

## Slide 29
Physical and technical principles
Leksell gamma knife

## Slide 30
Physical and technical principles
Leksell gamma knife

## Slide 31
Physical and technical principles
Leksell gamma knife

## Slide 32
Physical and technical principles
Leksell gamma knife

## Slide 33
Physical and technical principles
Leksell gamma knife

## Slide 34
Physical and technical principles
Leksell gamma knife
4 mm
8 mm
14 mm
18 mm
14 mm
14 mm
8 mm
8 mm
8 mm
8 mm
4 mm
4 mm

## Slide 35
Physical and technical principles
Leksell gamma knife

## Slide 36
Physical and technical principles
Linac radiosurgery or radiotherapy (BrainLAB system)

## Slide 37
Physical and technical principles
Linac radiosurgery or radiotherapy (BrainLAB system)

## Slide 38
Physical and technical principles
Linac radiosurgery or radiotherapy (BrainLAB system)

## Slide 39
Physical and technical principles
Linac radiosurgery or radiotherapy (BrainLAB system)

## Slide 40
Clinical applications-acoustic neuroma
3 years after LGK irradiation
during LGK irradiation

## Slide 41
Clinical applications-metastasis
6 years after LGK irradiation
during LGK irradiation